DOTORAL DISSERTATION

Dissertation title: “Study Development and Validation analytical process identification and quantitative determination of prohibited substances in Cosmetic Products”

Specialized in: Department of Drug and Toxicant Quality Control

Code number: 62 72 04 10

Name of candidate: Le Thi Huong Hoa

Institution: 	Ha Noi University of Pharmacy.

Summary of new aspects of the dissertation.

1. Development and Validation analytical process identification and assay:

- 9 analytical procedures by HPLC and one by AAS were developed and validated identification and assay of prohibited substances:

1.1. Simultaneous determination of 4 banned  colorants:  A method using sample pretreatment by liquid/solid extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for simultaneous determination of banned 4 colorants including Metanil yellow, Rhodamin B, pigment red 53 and Pigment orange 5 illegally presented in lipstick. The present of Pigment orange 5 is identified by comparing retention time and UV-VIS absorption spectrum of any suspect peak in chromatogram of sample preparation to that of the peak of Metanil yellow, Rhodamin B, Pigment red 53 and Pigment orange 5 in chromatogram of reference preparation. The entire method was validated about the specificity, linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Metanil yellow, Rhodamin B, pigment red 53 and Pigment orange 5 illegally presented in lipsticks and nail polishs, and having good accuracy.

1.2. Simultaneous determination of 4 banned  substances of Sudan: A HPLC method was proposed to determine sudan I, II, III, IV. Sudan I, II, III, IV  was dissolved in a mixture of equal volumes of methanol and ethyl acetate to have final concentration about 5g/ml for each substance of sudan I, II, III, IV, then determined by HPLC. The liquid chromatography is equipped with  a 488nm detector and a RP18 column (250m x 4.6mm ; 5m); mobile phase: methanol – water (93:7); the flow rate about 1ml/minute; injection volume is 20 l; temperature: ambient. The experimental results show that the proposed HPLC method is specific and precise.

1.3. Simultaneous determination of 12 banned  substances of corticoid:  A HPLC method was proposed to determine 12 forbidden corticoids including Prednisone, Dexamethasone, Triamcinolone acetonide, Fluocinolone acetonide, Prednisone acetate, Hydrocortisone acetate, Cortisone acetate, Dexamethason acetat, Betamethasone valerate, Clobetasol propionate, Mometasone furoate, Betamethason propionate in cosmetic cream. The samples were extracted with dicloromethane-methanol (9:1, v/v) solution by shake for 20 min. on the bath at 900C and evaporated  to dry. Dissolve in a mix solvent of acetonitrile-methanol-water (20:30:30)to concentration about 0.3 to 6 µg/ml depended on each, then determined by HPLC.

Chromatographic conditions are as follow: The liquid chromatography is equipped with a 240 nm detector and a RP18 column (250m x 4.6mm ; 5m);  mobile phase a mixture of Acetonitrile and water (48:52), the flow rate about 1.0 ml/minute, injection volume is 20 µl, temperature: ambient.

The  method was validated about the specificity, linear range, precision, accuracy, LOD, LOQ, and validation results proved that this method was suitable for simultaneous determination of 12 Corticoids.

1.4. Identification and assay hydroquinone  in cosmetics creams:  Reversed-phase conditions and diode array detector was developed for determination present of  hydroquinone  in cosmetics creams.  Hydroquinone  was dissolved in a mixture  of : methanol and pH 5.5 phosphate buffer solution (50 : 50) to have final concentration about 5 g/ml, then determined by HPLC. The liquid chromatography is equipped with  a 285  nm diode array detector and a RP8 column (250 x 4.6 mm ; 5 m); mobile phase is a mixture solvent of methanol and pH 5.5 phosphate  buffer solution (5 : 95); the flow rate about 1 ml/minute; injection volume is 20 l; temperature: ambient. LOD is 0.3 g/ml of injection solution (corresponding to 6 µg hydroquinone per g cream in the sample). LOQ is 1.0 g/ml of injection solution (corresponding to 20 µg hydroquinone per gram of cream). The experimental results showed that the method is rapid, precise and accurate.

1.5. About 5 analytical procedures by HPLC for determination 5 banned  colorants:

The present of banned substance (Metanil yellow, Pigment red 53, Pigment orange 5, Rhodamin B, Crystal violet) is identified by comparing retention time and UV-VIS absorption spectrum of any suspected peak in chromatogram of sample preparation to those of the peak of reference substance in chromatogram of reference preparation.

+ About Metanil yellow: A method using sample pretreatment by liquid/liquid extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for determination of banned colorant Metanil yellow illegally presented in lipstick and nail polish. The liquid chromatography is equipped with  a  488nm PDA detector and Apollo C18 column (250m x 4.6mm;5m); mobile phase methanol-buffer solution pH 6,2 (55: 45);  the flow rate about 1ml/minute; injection volume is 20 l; temperature: ambient.  The present of Metanil yellow is identified by comparing retention time and UV-VIS absorption spectrum of any suspected peak in chromatogram of sample preparation to that of the peak of Metanil yellow in chromatogram of reference preparation. The entire method was validated about the specificity, linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Metanil yellow illegally presented in lipstick and nail polish, and having good accuracy.

+ About Pigment red 53:  A method using sample pretreatment by liquid/liquid extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for determination of banned colorant Pigment red 53 illegally presented in lipstick and nail polish. The liquid chromatography is equipped with  a  490nm detector and Apollo C18 column (250m x 4.6mm;5m); mobile phase: methanol-buffer solution pH 6,2 (65: 35);  the flow rate about 1ml/minute; injection volume is 20 l; temperature: ambient.   The present of Pigment red 53 is identified by comparing retention time and UV-VIS absorption spectrum of any suspected peak in chromatogram of sample preparation to that of the peak of Pigment red 53 in chromatogram of reference preparation. The entire method was validated about the specificity,  linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Pigment red 53 illegally presented in lipsticks and make-up powders, and having good accuracy.

+ About Pigment orange 5: A method using sample pretreatment by liquid/solid extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for determination of banned colorant Pigment orange 5 illegally presented in lipstick and nail polish. The liquid chromatography is equipped with  a  490nm detector and Apollo C18 column (250m x 4.6mm;5m); temperature: 30oC; mobile phase: methanol-buffer solution pH 6,2 (85:15);  The present of Pigment orange 5 is identified by comparing retention time and UV-VIS absorption spectrum of any suspect peak in chromatogram of sample preparation to that of the peak of Pigment orange 5 in chromatogram of reference preparation. The entire method was validated about the specificity, linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Pigment orange 5 illegally presented in lipsticks and nail polish, and having good accuracy.

+ About Rhodamin B:  A method using sample pretreatment by extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for determination of banned colorant Rhodamin B illegally presented in lipstick, nail polish and eye powder.  The liquid chromatography is equipped with  a 550 nm detector and Alltech, Grace RP18 column (250m x 4.6mm;5m); mobile phase:  ACN-THF-Buffer solution pH 9,0 (20:30:50); the flow rate about 1ml/minute; injection volume is 20 l; temperature: ambient.  The present of Rhodamin B is identified by comparing retention time and UV-VIS absorption spectrum of any suspected peak in chromatogram of sample preparation to those of the peak of Rhodamin B in chromatogram of reference preparation. The entire method was validated about the specificity, linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Rhodamin B illegally presented in lipstick, nail polish and eye powder, and having good accuracy.

+ About Crystal violet: A method using cosmetic sample pretreatment by a mixture of solvents: ACN-THF- Ammonium buffer solution pH 9.5-10 (20 :30 :50) extraction, following by HPLC analysing in reversed-phase conditions and diode array detector was developed for determination of banned colorant Crystal violet illegally presented in lipstick and nail polish. The liquid chromatography is equipped with  a 590 nm detector and Alltech, Grace RP18 column (250m x 4.6mm;5m); mobile phase:  ACN-THF- Buffer solution pH 9,0 (20:30:50);  The present of Crystal violet is identified by comparing retention time and UV-VIS absorption spectrum of any suspected peak in chromatogram of sample preparation to that of the peak of Crystal violet in chromatogram of reference preparation. The entire method was validated about the specificity, linear range, LOD, LOQ, and validation results proved that this method was suitable for determination of Crystal violet illegally presented in lipstick, eye powders and nail polish, and having good accuracy.

1.6. About 1 analytical procedure by AAS for determination of mercury:  A simple AAS method based on microwave digestion and cold evaporation atomization techniques was developed for determination of mercury in cosmetic creams. Microwave digestion procedure used 65% nitric acid and 30% solution of hydrogen peroxide as oxygenizable agents. The measurement of mercury was carried out by using cold evaporation atomization technique with a mercury hollow cathode lamp at 253.7 nm and 10% solution of tin (II) chloride as reduction agent. LOQ of the method is 100ng, and LOD is 30ng as total amount of mercury in the sample portion to be analyzed. This method was proved in terms of linearity range, reproducibility and recovery as being suitable for routine application in detecting the present of mercury in cosmetic cream.

2. About Transfer method validation

+ Two of  analytical procedures by AAS and one by HPLC of ASEAN were succeed transferred validated of identification and assay of  Pb, As and Tretinoin, which is banned substances in cosmetic. The results of this validation showed as follows: All of three analytical process  of ASEAN are suitability to apply in Viet Nam

- 11 from 13 analytical process  were approved and applied to update for controling prohibited substances.

3. About recognition  and assay prohibited substances in cosmetic in the market

More than 230 samples cosmetic products  were controlled, there are 30 of them (13%) recognition one of banned substances: Metanil yellow, Rhodamin B, Pigment red 53, Crystal violet, Sudan, Tretinoin , some corticoid, specifically 30 ppm Mercury obtained  in one skin cream sample.

4. About science Article:

There are 09 science Articles from result dissertation printed in science Journal: Journal of Drug Quality Control, Journal of Pharmacopoeia, Journal of Pharmacopoeia and Drug Information

5. About technical training

There are two technical training courses were development to Identification and Assay heavy metal, colorants and some corticoid in cosmetic.

| The scientific advisors Ass. Pro, Dr. Thai Nguyen Hung Thu Dr. Doan Cao Son | Doctorate candidate MSc. Le Thi Huong Hoa |
| --- | --- |